## All Test & instrument details
Air Capture Hood
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | CFM MEASUREMENT & ACPH TEST
1 | AIR CAPTURE HOOD | T83802146034 | MHPL/ACH/1062 | 22/01/2026 | 21/01/2027 | TSI | 8380
2 | AIR CAPTURE HOOD | 91217053 | MHPL/ACH/0019 | 14/02/2026 | 13/02/2027 | TSI | 8375
3 | AIR CAPTURE HOOD | T83801503023 | MHPL/ACH/0020 | 14/02/2026 | 13/02/2027 | TSI | 8380
4 | AIR CAPTURE HOOD | T83802207008 | MHPL/ACH /1116 | 07/03/2026 | 06/03/2027 | TSI | 8380
5 | AIR CAPTURE HOOD | T87152209007 | MHPL/ACH/1127 | 08/04/2026 | 07/04/2027 | TSI | 8715
6 | AIR CAPTURE HOOD | T83801650004 | MHPL/ACH/0021 | 09/04/2026 | 08/04/2027 | TSI | 8380
7 | AIR CAPTURE HOOD | 91033011 | MHPL/ACH/1196 | 02/07/2025 | 01/07/2026 | TSI | 8375
8 | AIR CAPTURE HOOD | T83801620009 | MHPL/ACH/0022 | 19/08/2025 | 18/08/2026 | TSI | 8380
9 | AIR CAPTURE HOOD | T83801931003 | MHPL/ACH/0024 | 26/08/2025 | 25/08/2026 | TSI | 8380
10 | AIR CAPTURE HOOD | T83802047004 | MHPL/ACH/1198 | 06/09/2025 | 05/09/2026 | TSI | 8380
11 | AIR CAPTURE HOOD | T83802129019 | MHPL/ACH/1052 | 07/10/2025 | 06/10/2026 | TSI | 8380
12 | AIR CAPTURE HOOD | T83801944002 | MHPL/ACH/0025 | 07/10/2025 | 06/10/2026 | TSI | 8380
13 | AIR CAPTURE HOOD | T83802440002 | MHPL/ACH/1338 | 10/12/2025 | 09/12/2026 | TSI | 8380
DIGITAL VANE PROBE ANEMOMETER
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | 1)AIR VELOCITY & ACPH TEST 2)AIR VELOCITY TEST
1 | DIGITAL VANE PROBE ANEMOMETER | 83217553+20591193 | MHPL/VTA/1070 | 27/01/2026 | 26/01/2027 | TESTO | 440 + 193
2 | DIGITAL VANE PROBE ANEMOMETER | T57252107006 | MHPL/VTA/1063 | 30/01/2026 | 29/01/2027 | TSI | 5725
3 | DIGITAL VANE PROBE ANEMOMETER | 220527877 | MHPL/VTA/1191 | 06/03/2026 | 05/03/2027 | METRAVI | AVM-04
4 | DIGITAL VANE PROBE ANEMOMETER | 220527869 | MHPL/VTA/1190 | 02/03/2026 | 01/03/2027 | METRAVI | AVM-04
5 | DIGITAL VANE PROBE ANEMOMETER | R.18715 | MHPL/VTA/0012 | 16/03/2026 | 15/03/2027 | LUTRON | AM-4201
6 | DIGITAL VANE PROBE ANEMOMETER | R047826 | MHPL/VTA/0006 | 14/05/2025 | 13/05/2026 | LUTRON | AM-4201
7 | DIGITAL VANE PROBE ANEMOMETER | 220527924 | MHPL/VTA/1212 | 18/05/2025 | 17/05/2026 | METRAVI | AVM-04
8 | DIGITAL VANE PROBE ANEMOMETER | 3177430 | MHPL/VTA/1213 | 21/05/2025 | 20/05/2026 | WORKZONE | AM-4202
9 | DIGITAL VANE PROBE ANEMOMETER | 190427239 | MHPL/APM/1194 | 01/07/2025 | 30/06/2026 | METRAVI | AVM-04
10 | DIGITAL VANE PROBE ANEMOMETER | Q857885 | MHPL/VTA/0001 | 20/08/2025 | 19/08/2026 | LUTRON | AM-4201
11 | DIGITAL VANE PROBE ANEMOMETER | Q848220 | MHPL/VTA/0005 | 08/09/2025 | 07/09/2026 | LUTRON | AM-4201
12 | DIGITAL VANE PROBE ANEMOMETER | 230205234 | MHPL/VTA/1329 | 2025-10-03 | 2026-10-02 | METRAVI | AVM-04
13 | DIGITAL VANE PROBE ANEMOMETER | 170619859 | MHPL/VTA/0011 | 06/10/2025 | 05/10/2026 | METRAVI | AVM-04
14 | DIGITAL VANE PROBE ANEMOMETER | 240107152 | MHPL/VTA/1330 | 2025-10-10 | 2026-10-09 | METRAVI | AVM-04
15 | DIGITAL VANE PROBE ANEMOMETER | 240928297 | MHPL/VTA/1332 | 15/11/2025 | 14/11/2026 | METRAVI | AVM-04
16 | DIGITAL VANE PROBE ANEMOMETER | 240928323 | MHPL/VTA/1333 | 18/11/2025 | 17/11/2026 | METRAVI | AVM-04
17 | DIGITAL VANE PROBE ANEMOMETER | 240928340 | MHPL/VTA/1335 | 20/11/2025 | 19/11/2026 | METRAVI | AVM-04
18 | DIGITAL VANE PROBE ANEMOMETER | 240928295 | MHPL/VTA/1331 | 25/11/2025 | 24/11/2026 | METRAVI | AVM-04
19 | DIGITAL VANE PROBE ANEMOMETER | 240928338 | MHPL/VTA/1334 | 25/11/2025 | 24/11/2026 | METRAVI | AVM-04
20 | DIGITAL VANE PROBE ANEMOMETER | R001268 | MHPL/VTA/0004 | 08/12/2025 | 07/12/2026 | LUTRON | AM-4201
AIR VELOCITY PROBE
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | 1)AIR VELOCITY & ACPH TEST 2)AIR VELOCITY TEST
1 | AIR VELOCITY PROBE | P23290023+83802144005 | MHPL/AVP/1203 | 24/05/2025 | 23/05/2026 | TSI | 962+8380
2 | AIR VELOCITY PROBE | P23290024+83802144005 | MHPL/AVP/1204 | 24/05/2025 | 23/05/2026 | TSI | 962+8380
OR
HOT WIRE ANEMOMETER
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | 1)AIR VELOCITY & ACPH TEST 2)AIR VELOCITY TEST
1 | HOT WIRE ANEMOMETER | 83217553+20812200 | MHPL/HWA/0018 | 24/01/2026 | 23/01/2027 | TESTO | 440 + 004
2 | HOT WIRE ANEMOMETER | 83217553+62332738 | MHPL/HWA/1068 | 24/01/2026 | 23/01/2027 | TESTO | 440 + 738
3 | HOT WIRE ANEMOMETER | 83217553+20882004 | MHPL/HWA/1069 | 24/01/2026 | 23/01/2027 | TESTO | 440 + 004
4 | HOT WIRE ANEMOMETER | T95152319001 | MHPL/HWA/1211 | 18/04/2025 | 17/04/2026 | TSI | 9515
Aerosol Photometer
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | HEPA FILTER INTEGRITY TEST
1 | Aerosol Photometer | 33733 | MHPL/APM/0030 | 12/01/2026 | 11/01/2027 | AIRTECH | ATI 2I
2 | AEROSOL PHOTOMETER | 01756 | MHPL/APM/0028 | 24/01/2026 | 23/01/2027 | TEC SERVICES | PH-5
3 | AEROSOL PHOTOMETER | 36493 | MHPL/APM/0031 | 10/03/2026 | 09/03/2027 | AIRTECH | ATI 2I
4 | AEROSOL PHOTOMETER | 37800 | MHPL/APM /1117 | 10/03/2026 | 09/03/2027 | AIRTECH | ATI 2I
5 | AEROSOL PHOTOMETER | 17820 | NA | 25/03/2026 | 24/03/2027 | AIRTECH | 2H
6 | AEROSOL PHOTOMETER | 29283 | MHPL/APM/0029 | 27/05/2025 | 26/05/2026 | AIRTECH | ATI 2I
7 | AEROSOL PHOTOMETER | 32515 | MHPL/APM/1199 | 02/07/2025 | 01/07/2026 | AIRTECH | ATI 2I
8 | AEROSOL PHOTOMETER | 73611 | MHPL/APM/1326 | 18/07/2025 | 17/07/2026 | AIRTECH | ATI 2I
9 | AEROSOL PHOTOMETER | 28081 | MHPL/APM/0027 | 19/08/2025 | 18/08/2026 | AIRTECH | ATI 2I
10 | AEROSOL PHOTOMETER | 2577 | MHPL/APM/0032 | 19/08/2025 | 18/08/2026 | TEC SERVICES | PH-5
11 | AEROSOL PHOTOMETER | 37504 | MHPL/APM/1049 | 10/09/2025 | 09/09/2026 | AIRTECH | ATI 2I
12 | AEROSOL PHOTOMETER | 21125 | MHPL/APM/0026 | 19/12/2025 | 18/12/2026 | AIRTECH | 2H
PRESSURE GAUGE
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO
1 | PRESSURE GAUGE | S165.59-01792 | MHPL/PG/1336 | 2026-01-19 | 18/01/2027 | BAUMER | DIAL 65mm
2 | PRESSURE GAUGE | NIL | MHPL/PG/1179 | 2026-02-08 | 2027-02-07 | KUSHAKO | NIL
3 | PRESSURE GAUGE | NIL | MHPL/PG/1180 | 08/02/2026 | 07/02/2027 | WAAREE | NIL
4 | PRESSURE GAUGE | NIL | MHPL/PG/1181 | 08/02/2026 | 07/02/2027 | KUSHABA | NIL
5 | PRESSURE GAUGE | NIL | MHPL/PG/1182 | 08/02/2026 | 07/02/2027 | JANATICS | NIL
6 | PRESSURE GAUGE | NIL | MHPL/PG/1183 | 08/02/2026 | 07/02/2027 | JANATICS | NIL
7 | PRESSURE GAUGE | NIL | MHPL/PG/1184 | 08/02/2026 | 07/02/2027 | KUSHAKO | NIL
8 | PRESSURE GAUGE | NIL | MHPL/PG/1185 | 08/02/2026 | 07/02/2027 | TECHNO | NIL
9 | PRESSURE GAUGE | NIL | MHPL/PG/1186 | 08/02/2026 | 07/02/2027 | KUSHAKO | NIL
10 | PRESSURE GAUGE | NIL | MHPL/PG/1187 | 08/02/2026 | 07/02/2027 | JANATICS | NIL
11 | PRESSURE GAUGE | NIL | MHPL/PG/1404 | 06/02/2026 | 05/02/2027 | AFRISO | DIAL 100mm
12 | PRESSURE GAUGE | NIL | MHPL/PG/1188 | 08/02/2026 | 07/02/2027 | JANATICS | NIL
13 | PRESSURE GAUGE | NIL | MHPL/PG/1195 | 03/07/2025 | 02/07/2026 | BAUMER | NIL
14 | PRESSURE GAUGE | NIL | MHPL/PG/1397 | 2025-12-24 | 2026-12-23 | JANATICS | DIAL 40mm
15 | PRESSURE GAUGE | NIL | MHPL/PG/1398 | 2025-12-24 | 2026-12-23 | JANATICS | DIAL 40mm
16 | PRESSURE GAUGE | NIL | MHPL/PG/1399 | 2025-12-24 | 2026-12-23 | JANATICS | DIAL 40mm
17 | PRESSURE GAUGE | NIL | MHPL/PG/1400 | 2025-12-24 | 2026-12-23 | JANATICS | DIAL 40mm
18 | PRESSURE GAUGE | NIL | MHPL/PG/1401 | 2025-12-24 | 2026-12-23 | JANATICS | DIAL 40mm
PARTICLE COUNTER
Sr.No | Instrument Name | Instrument Serial No. | Instrument ID No | Calibration Date | Calibration Due Date | MAKE | MODEL NO | SAMPLING VOLUME/MIN | 1)NON-VIABLE PARTICLE COUNT TEST 2)RECOVERY TEST
1 | PARTICLE COUNTER | 135166 | MHPL/PC1/0042 | 20/01/2026 | 20/01/2027 | PMS | LasairIII_310C | 0.0283m3/min
2 | PARTICLE COUNTER | 153132 | MHPL/PC1/1393 | 20/01/2026 | 20/01/2027 | PMS | LasairIII_310C | 0.0283m3/min
3 | PARTICLE COUNTER | 94526 | MHPL/PC1/1061 | 20/01/2026 | 20/01/2027 | PMS | LasairIII_310C | 0.0283m3/min
4 | PARTICLE COUNTER | 93361 | MHPL/PC1/0043 | 04/04/2026 | 04/04/2027 | PMS | LasairIII_310C | 0.0283m3/min
5 | PARTICLE COUNTER | 136144 | MHPL/PC1/0044 | 04/04/2026 | 04/04/2027 | PMS | LasairIII_310C | 0.0283m3/min
6 | PARTICLE COUNTER | 116450 | MHPL/PC1/0036 | 16/06/2025 | 16/06/2026 | PMS | LasairIII_310C | 0.0283m3/min
7 | PARTICLE COUNTER | 81718 | MHPL/PC1/0033 | 19/06/2025 | 19/06/2026 | PMS | LasairIII_310C | 0.0283m3/min
8 | PARTICLE COUNTER | 136230 | MHPL/PC1/0045 | 19/06/2025 | 19/06/2026 | PMS | LasairIII_310C | 0.0283m3/min
9 | PARTICLE COUNTER | 158136 | MHPL/PC1/1197 | 23/07/2025 | 23/07/2026 | PMS | LasairIII_310C | 0.0283m3/min
10 | PARTICLE COUNTER | 92949 | MHPL/PC1/0034 | 02/09/2025 | 02/09/2026 | PMS | LasairIII_310C | 0.0283m3/min
11 | PARTICLE COUNTER | 120158 | MHPL/PC1/0039 | 02/09/2025 | 02/09/2026 | PMS | LasairIII_310C | 0.0283m3/min
12 | PARTICLE COUNTER | 91999 | MHPL/PC1/0035 | 05/09/2025 | 05/09/2026 | PMS | LasairIII_310C | 0.0283m3/min
13 | PARTICLE COUNTER | 72573 | MHPL/PC1/0049 | 08/10/2025 | 08/10/2026 | PMS | LasairIII_310C | 0.0283m3/min
14 | PARTICLE COUNTER | 123550 | MHPL/PC1/0041 | 03/12/2025 | 03/12/2026 | PMS | LasairIII_310C | 0.0283m3/min
15 | PARTICLE COUNTER | 142777 | MHPL/PC1/0047 | 03/12/2025 | 03/12/2026 | PMS | LasairIII_310C | 0.0283m3/min
16 | PARTICLE COUNTER | 125894 | MHPL/PC3/1210 | 04/04/2026 | 04/04/2027 | PMS | LasairIII_5100 | 0.1000m3/min
17 | PARTICLE COUNTER | 168867 | MHPL/PC3/1214 | 22/05/2025 | 21/05/2026 | PMS | LasairIII_5100 | 0.1000m3/min
18 | PARTICLE COUNTER | 123592 | MHPL/PC3/0040 | 22/05/2025 | 21/05/2026 | PMS | LasairIII_5100 | 0.1000m3/min
19 | PARTICLE COUNTER | 97277 | MHPL/PC3/0037 | 04/07/2025 | 04/07/2026 | PMS | LasairIII_5100 | 0.1000m3/min
20 | PARTICLE COUNTER | 97278 | MHPL/PC3/0038 | 04/07/2025 | 04/07/2026 | PMS | LasairIII_5100 | 0.1000m3/min
21 | PARTICLE COUNTER | 95002210004 | MHPL/PC3/1125 | 11/11/2025 | 11/11/2026 | TSI | 9500-01 | 0.1000m3/min
22 | PARTICLE COUNTER | 69841 | NA | 18/12/2025 | 18/12/2026 | PMS | LasairIII_5100 | 0.1000m3/min
23 | PARTICLE COUNTER | 501679 | MHPL/PC3/1120 | 16/12/2025 | 16/12/2026 | PMS | LasairIII_5100 | 0.1000m3/min
24 | PARTICLE COUNTER | 168860 | MHPL/PC3/1192 | 19/12/2025 | 19/12/2026 | PMS | LasairIII_5100 | 0.1000m3/min